Model parameters vs. gas pressure in two different plasma focus devices operated in Argon and Neon
Sh Al-Hawat1, M. Akel1 , S. Lee2,3,4, S. H. Saw2,3
1Department of Physics, Atomic Energy Commission,

P.O. Box 6091, Damascus, Syria

e-mail: scientific@aec.org.sy
2 Institute for Plasma Focus Studies, 32 Oakpark Drive,

Chadstone, VIC 3148, Australia.
3INTI International University College, 71800 Nilai, Malaysia.
4National Institute of Education, Nanyang Technological

University, Singapore 637616, Singapore.

Abstract
For the plasma focus device AECS PF-2 operated in Ar and INTI PF in Ne, model parameters of mass and current in the axial phase of plasma focus were found by matching the measured and calculated current waveforms over a range of pressures. The results show a value of fm = 
[image: image1.wmf]0.050.01

±

 over 0.2 - 1.2 Torr in Ar; and fm = 
[image: image2.wmf]0.040.01

±

over 0.7 - 4.1 Torr in Neon. The value of fc = 0.7 was fitted for all cases. Combining these results with those published for several other small machines it would appear that, where measured current waveforms are not available for example in designing new machines, a good compromise would be to take a guideline value of fm = 0.05 and fc = 0.7 for both Argon and Neon.
Key words: Lee model, model parameters, plasma focus device, argon, neon

Introduction
The plasma focus radiative model - Lee Model has been developed for Mather-type plasma focus devices like UNU/ICTP PFF [1, 2]. But in principle, there is no limit to energy storage and electrode configuration, so it could be used for any plasma focus device. The model has been used for applications such as design optimization of plasma focus devices [3], to estimate the soft x-ray production [4-6] and neutron yields [7] and to find the focus pinch current waveform from a measured discharge current waveform [8].
  The equation of motion and the circuit (current) equation for the axial phase include model parameters fm and fc, where fm is the fraction of mass swept down the tube in the axial direction of the current sheath, fc is the fraction of current flowing in the magnetic piston. 
The model equations for the radial phase include parameters fmr and fcr where fmr describes the effective mass swept into the radial slug. It is found that fmr is typically larger than fm of the axial phase and that fcr is almost the same as the fc in the axial phase [9, 10].
   In this work, we carry out measurements of current waveforms vs pressure for Ar and Ne to find the axial phase model parameters fm, fc vs. the filling gas pressure on two different PF devices: AECS PF-2 in filling gas of Ar and INTI PF in filling gas of Ne. We also compare our results, with experimental results of published data taken from several other machines [4, 11, and 12].
Experimental set up

The experimental set-up with the equivalent circuit for both two devices used in this study are shown in Fig.1a, b, respectively. 
The experimental setup as shown in Fig.1a, consists of: a plasma focus tube; charger; storage capacitor bank; spark gap; triggering unit; storage oscilloscope; PC computer; voltage divider; and Rogowski coil; whereas the equivalent circuit indicates the external part with C0, L0, r0 and the internal part with Lp and rp for plasma . 
The plasma focus chamber is made of stainless steel; it is 30 cm long and 16 cm in diameter. The central electrode is made of copper rod 16 cm long and 1.9 cm in diameter; it forms the anode of the focus tube. The cathode of the focus consists of six copper rods which are placed symmetrically around the anode at a radial distance of 3.2 cm, the diameter of each rod is 8 mm and its length is of 16 cm. To establish current sheath with axial symmetry the anode bottom was surrounded by a Pyrex glass tube as a back-wall.

So, the energy, tube, bank and operating parameters are: 
For AECS PF-2: E=2.8 kJ, c=b/a=3.4, a=0.95 cm, b=3.2 cm, z0=16 cm, L0=270 nH, C0=25
[image: image3.wmf]μF

, r0=35
[image: image4.wmf]m

Ω

and V0=15 kV.

And for INTI PF: E=2.2 kJ, c=b/a=3.4, a=0.95 cm, b=3.2 cm, z0=16 cm, L0=110 nH, C0=30
[image: image5.wmf]μF

, r0=12 
[image: image6.wmf]m

Ω

and V0=12 kV.

Where E is the storage energy of capacitor bank; 'a' is the anode radius; 'b' is the cathode radius; z0 is the anode length; L0 is the external inductance; C0 is the capacitance of the bank capacitors; r0 is the stray resistance. 
The experiments were carried out on both devices; the first one in the filling gas of Ar with varying pressure in between 0.12 - 1.2 Torr; and  the second one in the filling gas of  Ne with varying pressure in between 0.7 - 4.1 Torr.
From the current waveform shown in Fig. 2, which represents the temporal evolution of the current at 5 mbar in Ar, we can find the period of current oscillations T =17.35
[image: image7.wmf]s

m

. Following the calibration method of Rogowski coil described in [13] we found that the calibration coefficient was 2.6 kA/V for AECS PF-2 taking into account that the current trace shown in Fig. 3a, b was obtained with attenuation of 1:10. 
Fitting procedures

In this work, we are going to fit the computed and measured current varying the pressure, with the purpose to find the proper model parameters vs. pressure for both devices and filling gases (Ar & Ne).

To do that, the code RADPF5.15d of Lee model written in Visual Basic and supported by Excel window was used with data from experiments carried out on AECS PF-2 and INTI PF. To run the code, we use the following bank, tube and operating parameters: for AECS PF-2 device:

Bank parameters: L0=270 nH, C0=25
[image: image8.wmf]F

m

, r0=35
[image: image9.wmf]m

W

;

Tube parameters: z0=16 cm, a=0.95 cm, b=3.2 cm; 
Operation parameters: V0=15 kV, P0=0.12-1.2 Torr, MW=40, A=18, At-Mol=1 (for Ar).

And the following for INTI PF device:

Bank parameters: L0=110 nH, C0=30
[image: image10.wmf]F

m

, r0=12 
[image: image11.wmf]m

W

;

Tube parameters: z0=16 cm, a=0.95 cm, b=3.2 cm;

Operation parameters: V0=12 kV, P0=0.7-4.1 Torr, MW=20, A=10, At-Mol=1 (for Ne).

Initially, for fitting the computed current trace to the measured current trace, we do not know the model parameters. We use the trial model parameters recommended in the code as fm=0.073, fc=0.7, fmr=0.26, fcr=0.7. For that, we configure the code for AECS PF-2 and INTI PF devices in Ar and Ne respectively; we run the code, and we compare the computed current waveform with the corresponding measured waveform.

The fitting of the axial phase is the first step. This involves variations of fm and fc whilst observing the changes that appear on the resulting computed total current trace in respect to the rise time, rising shape and Ipeak; and how these features compare with the corresponding features of the measured Itotal trace (see Fig. 3a, b). During this fitting, the increase in fc increases the axial speed which increases dynamic resistance, thus lowering the current magnitude on the rising slope; this is clear shown in Fig. 3a, changing the value of fc from 0.5 to 0.7; whereas a decrease in fm has almost the same effect also as it is seen from Fig. 3a changing fm from 0.073 to 0.05. 
So, in the fitting process the model parameters are varied in steps starting with fm and fc, so that the rising slope leading to the topping profile and peak current and the time of focus are corrected by fitting [9]. 
Besides fc and fm from the model parameters, also the value of stray resistance r0 needs to be adjusted. We usually start with the small arbitrary value of r0 as
[image: image12.wmf]1/2

00

0.1(/)

LC

´

; and make needed adjustments as in [10]. In adjusting r0, we note that an increase of r0 lowers the current trace at all points proportionately (see Fig. 3a), when r0 is increased from 14 m( to 35 m(. In addition to that, sometimes the inductance needs to be adjusted very commonly, the inductance L0 may be given as the short circuit bank inductance which nominally equals to 200 nH in AECS PF-2. Adjustments to L0 are indicated, when the computed current rise slope differs significantly from the measured slope. In adjusting L0 we note that increasing L0 lowers the slope of the rising current as seen from Fig. 3a moving from L0=200 nH to 240 nH and in the final step to 270 nH. 

Finally, when all values are properly adjusted and when fm and fc are correctly fitted, the measured rising profile of the computed Itot, usually up to the peak value Ipeak is found to fit the measured rising profile well in both shape and magnitude.

To fit the whole current trace including the axial and as well as the radial phase, the second step is the fitting of the radial phase. As this phase begins, the current trace starts to roll over, at first imperceptibly, then clearly dipping and then dips sharply as the focus dynamics enters the severe pinch phase which absorbs a significant portion of the energy from the driving magnetic field. 
The standard procedure is then to adjust the values of fmr and fcr so that the slope and depth of the current fit the experimentally observed features. However for the present experiments because the current signals are noisy in the region of the radial phase corresponding to the current dip we have not been able to accurately fit the radial phase model parameters fmr and fcr. 
After the previous steps, the fitting has achieved a good agreement in all the features (slopes & magnitudes) of the computed and measured total current traces up to the end of the axial phase and also with approximate fitting for radial phase, as shown, in Fig. 3b.

The exact time profile of the total current trace is governed by the bank parameters (C0, L0, r0) capacitance, external or static inductance, stray resistance, by the focus tube geometry (outer radius of the cathode 'b', inner radius of the anode 'a' and the anode length z0); and on the operational parameters which are the charging voltage V0 and the filling pressure p0 and the nature of the filling gas. It also depends on the fraction of mass swept-up and the fraction of sheath current and the variation of these fractions through the axial and radial phases. 

We repeat the previous procedures for a large number of pressures (10 shots for each pressure) ranging between 0.12 Torr and 1.20 Torr in Ar for AECS PF-2 and between 0.7 Torr and 4.1 Torr in Ne for INTI PF; where the average fitting model parameters over shots for each pressure were determined with a maximum absolute error determined as arithmetic error using statistics in Origin software program for each value of pressure and shown in Fig. 4. The fitting procedure is used for all working pressures and the obtained results are shown in Tables 1 & 2 for both devices respectively.

In general, after such fitting for the axial phase and similarly for the radial phase, we will have confidence that the gross features of the studied device including axial and radial trajectories, axial and radial speeds, gross dimensions, densities and plasma temperatures, soft x-ray yields up to the end of radial phase may be well compared with the measured values of the same features.

We emphasis the fact that when the computed total current curve is fitted to the measured curve, we have confidence that the soft x-ray yields are also comparable with what would actually measured.

After finishing the fitting process on AECS PF-2 and INTI PF, we then tabulate the important results of both devices, and do a comparison of model parameters of both devices vs. the pressure of Ar and Ne, to obtain important conclusion about their variations.

Results and discussion

Results are shown in Table 1 and Fig. 4 (for AECS PF-2) and in Table 2 and Fig. 5 (for INTI PF). It was found that the variation of fm and fc within each pressure was small enough (±20%), so that their variation with pressure became noticeable although small.

From the fitting results for more than 100 shots, we could quite reasonably interpret the value of fm to be within the range of 
[image: image13.wmf]0.050.01

±

 over the whole range of pressure 0.2-1.2 Torr in Ar. In other words at one pressure point of operation the value of fitted fm could vary between the values of 0.04-0.06 (see Fig. 4, the average values range of  fm) .
Likewise for the INTI results we would have about the same range of variation of about 
[image: image14.wmf]0.040.01

±

 over the whole range of pressure 0.7-4.1 Torr in neon.
Thus we are able to show that for situations where we do not have a measured current waveform, for argon we may use fm=0.05 and for neon we may use fm=0.04.  This will facilitate numerical experiments when we are running series of numerical experiments with pressure variation (See Figs. 4, 5).
In Figs 4 and 5 we also include the results of Tou [11]. Where it was measured fm of 0.07 for argon in UMDPF1, working at 20 kV, 280 kA ignitron-switched plasma focus with zo=16cm, b=4.3 cm and a=1.3cm. In [4] M Liu used magnetic probes to measure fm, fc vs pressure in argon and neon on NIE-SSC-PFF, working at 14 kV, 165 kA with zo=16cm, b=3.2 cm and a=0.95cm as provided by Figs. 4, 5. 
So we can conclude that for both devices, the fm value is small, below 0.1 and generally agrees with the UMDPF1; and that the variation with pressure is not so extensive.
Combining these results with those published for several other small machines (see Figs. 4, 5) it would appear that, where measured current waveforms are not available for example in designing new machines, a good compromise would be to take a guideline value of  fm=0.05 and fc=0.7 for both argon and neon. 
The obtained results for the main features of plasma focus vs filling gas pressure (peak and pinch currents, pinch temperature, axial, shock and piston speeds, minimum radius and length of pinch, pinch duration, maximum voltage, maximum ion density, x-ray energy, model parameters, percentage of energy input plasma EINP, end axial time, speed factor SF, current per unit length of the anode radius ID, line radiation energy, end radial time, radial duration, and  accuracy of fm) on AECS PF-2 in Ar  and on INTI PF in Ne are also tabulated in tables 1, 2 respectively.
These tables summarize the results of our numerical experiments using the modified code of Lee model on the data of experiments curried out on AECS PF-2 and INTI PF under certain conditions of pressure, voltage and filling gas.
Coming to the detailed tabulations: we note that the speeds (axial, radial shock and radial piston) and temperature all continue to rise as pressure lowers; similarly speed factor (SF) also increases as pressure is decreased. Pinch length z max is almost a constant. Pinch duration continues to decrease; this is due to better compression at higher speeds. The number density progressively drops, due to the decreasing starting numbers, despite the increasing compression. From tables 1, 2, it is noticed that two devices have a different behavior for some features like Vmax and Ni and Qsxr .
We can also determine without a lot of difficulties the values of the peak current and axial phase duration from the measured and calculated current traces obtained vs. the pressure of argon for AECS PF-2 (see Fig. 3a, b for example), as the region of axial phase is less noisy than the radial phase region which starts with the first dip of the strong current oscillations of the current trace. These results are shown in Figs. 6 and 7, respectively. As seen from those, the peak current is slightly increased with pressure; whereas the duration of axial phase is linearly proportioned to the pressure i.e. with the pressure increasing, the current sheath needs more time to reach the top of the anode.   
From the calculated results shown in table1, it is worthy to notice that soft x-ray line yield of AECS PF-2 in argon is found to be negligible for these operating conditions.
Conclusion

In this work, we have fitted the computed current waveforms to the measured current waveforms using Lee model code RADPF 5.15.d for AECS PF-2 and INTI PF to find the model parameters vs. pressure of filling gases (Ar & Ne). For two devices, we obtained a good fit of all features from the start to the end of the axial phase. With the present current measurement set-ups the measured radial phase current dip is too noisy to allow accurate fitting. The results show a value of fm = 
[image: image15.wmf]0.050.01

±

((20%) over the whole range of pressure 0.2-1.2 Torr in Ar; and fm = 
[image: image16.wmf]0.040.01

±

 ((25%) over 0.7 - 4.1 Torr in Ne. The value of fc = 0.7 was fitted for all cases. Combining these results with those published for several other small machines, it would appear that, where measured current waveforms are not available for example in designing new machines, a good compromise would be to take a guideline value of fm = 0.05 and fc = 0.7 for both argon and neon. 

We have designed another current measurement system based on numerically integrating a dI/dt waveform measured with a Rogowski coil of a few turns. This will allow measurements to be made of the radial phase model parameters.

Acknowledgments
The first two authors would like to thank the director general of AEC of Syria, for his encouragement, guidance and permanent support.
References
1. J W Mather, Phys Fluids, 8, 366 (1965).

2. S Lee, T Y Tou, S P Moo, M A Eissa, A V Gholap, K H Kwek, S Mulyodrono, A J Smith Suryadi, W Usada, M Zakaullah. Amer J Phys.  56, 62 (1988)

3. S Lee, IEEE Trans. Plasma Sci., 19 912 (1991).

4. Liu Mahe , Soft X-rays from compact plasma focus" Ph D Thesis , School of Science, Nanyang Technoloical University, December 1996, Ch. 5 , P. 143.

5. Sor Heoh, Paul Choon Keat Lee, Rajdeep Singh Rawat, and Sing Lee, IEEE Trans. Plasma Sci. 37(7), , 1276–1282, July (2009)
6. S. Lee, P Lee, S H Saw and R S Rawat, Plasma Phys. Control. Fusion 50 (2008)065012 (8pp)
7. M. Akel, Sh. Al-Hawat, S.H. Saw, S. Lee, J. Fusion Energ. 29,

223–231, (2010)
8. S Lee, S H saw, P C K Lee, R S Rawat and H Schmidt, Applied Phys Letters, Vol 92, issue 12, 12 March (2008).

9. S Lee, Theoretical Basis: Plasma focus Model (radiative)- S Lee Model ; 
Or  intimal.edu.my/school/fas/UFLF/" 

http://www.plasmafocus.net/IPFS/modelpackage/file/RADPF htm (October 2010)

Or  intimal.edu.my/school/fas/UFLF/
 2010. 

10. S Lee, radiative dense plasma focus computation package (2008): RADPF

http:// www.intimail.edu.myLschoolL fas/UFLF/

11. T.Y. Tou, PhD Thesis, Univ. of Malaya, Malaysia, (1986)
12. Sh. Al-Hawat and S Saloum, Contrib, Plasma Phys. 49, No1, 5-14, (2009). 
13. S. Lee, Experiments with the ICTP-UM 3.3 kJ Plasma Fusion facility, Spring College on Plasma Physics, International Center For Theoretical Physics (ICTP), Trieste, Italy, May 17-June 11 (1993).
Table captions
Table 1
Calculated results obtained from RADPF 5.15 d of S Lee Model for AECS PF-2 with:
E=2.8 kJ, c=b/a=3.4, a=0.95 cm, b=3.2 cm, z0=16 cm, L0=270 nH, C0=25
[image: image17.wmf]F

m

, r0=35
[image: image18.wmf]m

W

, V0=15 kV in argon. 

Table 2
Calculated results obtained   from RADPF 5.15 d of S Lee Model for INTI PF device with: E=2.2 kJ, c=b/a=3.4, a=0.95 cm, b=3.2 cm, z0=16 cm, L0=110 nH, C0=30
[image: image19.wmf]F

m

, r0=12
[image: image20.wmf]m

W

, V0=12 kV in neon. 

Figures captions

Fig. 1a Experimental set up for AECS PF-2 and INTI PF devices. The main parts of those systems are as shown on the schematic diagram; where z0 is the anode length, a is the anode radius, b is the radius of the cathode position.
Fig.1b Equivalent electrical circuit of the plasma focus device; where L0, C0, ro are inductance, capacitance and resistance of the external circuit respectively; Lp and rp are inductance and resistance of the plasma focus.
Fig. 2 The temporal evolution of the current waveform for AECS PF-2 at 5 mbar in Ar.
Fig. 3a Current fitting of computed current to measured current traces varying model parameters including external static inductance and stray resistance (L0, r0).

Fig. 3b Current fitting of computed current to measured current traces to obtain fitted parameters fm=0.05, fc=0.7, fmr=0.15, fcr=0.7 at p=0.414 Torr.
Fig. 4 Comparison of average mass factor fm values obtained from calculated and measured current waveforms fitting using Lee model code on AECS PF-2 with those measured by magnetic probe on NIE-SSC-PF vs. pressure in argon [4]. 
Fig. 5 Comparison mass factor fm values obtained from calculated and measured current waveforms fitting using Lee model at INTI PF and measured by magnetic probe at NIE-SSC-PF vs. pressure in neon [4].  

Fig. 6 Comparison of measured and calculated peak current values Ipeak vs.  pressure in argon  at AECS PF-2.
Fig. 7 Comparison of the measured and calculated axial phase duration vs. pressure in argon at AECS PF-2.
Table 1
	peak vp

[image: image21.wmf]/

cms

m


	peak vs

[image: image22.wmf]/

cms

m


	peak va

[image: image23.wmf]/

cms

m


	Tpinch, max

[image: image24.wmf]6

10

,K
	Tpinch, min

[image: image25.wmf]6

10

,K
	Ipinch start
kA
	Ipeak
kA
	P0, Torr

	31.2
	49.7
	10.6
	16.14
	16.00
	66.1
	95.3
	0.115

	27.8
	40.1
	9.3
	10.82
	10.75
	69.4
	100.2
	0.189

	25.9
	35.6
	7.2
	8.51
	8.45
	72.7
	105.5
	0.264

	23.1
	30.7
	7.4
	6.73
	6.55
	72.6
	105.3
	0.340

	21.3
	27.9
	6.5
	5.90
	5.38
	72.7
	106.4
	0.414

	19.6
	25.5
	6.3
	5.2
	4.5
	72.5
	106.7
	0.491

	18.0
	22.9
	5.1
	4.47
	3.56
	69.1
	107.9
	0.563

	15.9
	20.1
	4.8
	3.86
	2.83
	65.2
	105.1
	0.638

	16.1
	20.4
	5.3
	3.93
	2.91
	69.9
	107.7
	0.713

	13.3
	16.8
	4.2
	2.76
	2.00
	61.1
	108.9
	0.863

	12.7
	15.9
	4.0
	2.52
	1.86
	59.9
	109.0
	0.930

	12.2
	14.8
	4.0
	2.22
	1.69
	57.7
	105.8
	1.013

	8.2
	10.7
	3.2
	1.23
	1.05
	43.4
	106.5
	1.163


	fm

	Qsxr
%
	Qsxr
J
	Ni pinch,max
(1023)/m3
	Vmax,
kV
	pinch
dur, ns
	zmax
cm
	amin
cm

	0.0470
	0
	0
	0.208
	27.9
	4.5
	1.3
	0.09

	0.0425
	0
	0
	0.5
	28.8
	5.3
	1.3
	0.08

	0.060
	0
	0
	0.8
	28.7
	5.8
	1.3
	0.07

	0.045
	0
	0
	1.2
	26.6
	6.8
	1.4
	0.07

	0.05
	0
	0
	1.5
	24.7
	7.3
	1.4
	0.07

	0.05
	0
	0
	2.0
	23.0
	7.9
	1.4
	0.06

	0.06
	0
	0
	2.7
	20.0
	8.7
	1.4
	0.06

	0.06
	0
	0
	4.9
	25.1
	10.0
	1.4
	0.05

	0.05
	0
	0
	6.3
	31.5
	9.8
	1.4
	0.04

	0.06
	0
	0
	45.4
	77.0
	11.8
	1.8
	0.02

	0.06
	0
	0
	37.7
	65.1
	12.3
	1.8
	0.02

	0.05
	0
	0
	29.0
	52.6
	13.1
	1.8
	0.02

	0.06
	0
	0
	7.3
	21.7
	18.7
	1.5
	0.05


	fc
	fmr
	fcr
	EINP %
	T axial end


[image: image26.wmf]s

m


	SF
	ID kA/cm
	Qline, J

	0.70
	0.15
	0.70
	2.6
	2.6
	296
	100.32
	0.003

	0.70
	0.15
	0.70
	3.0
	2.9
	243
	105.43
	0.018

	0.70
	0.15
	0.70
	3.6
	3.6
	216
	111.03
	0.057

	0.70
	0.15
	0.70
	3.6
	3.5
	190
	110.83
	0.163

	0.70
	0.15
	0.70
	3.8
	3.9
	174
	111.98
	0.337

	0.70
	0.15
	0.70
	3.9
	4.0
	160.2
	112.27
	0.649

	0.70
	0.15
	0.70
	4.0
	4.6
	151
	113.58
	1.343

	0.70
	0.15
	0.70
	3.9
	4.7
	139
	110.59
	2.980

	0.70
	0.15
	0.70
	4.1
	4.5
	134
	113
	3.885

	0.70
	0.15
	0.70
	4.4
	5.2
	123
	115
	20.592

	0.70
	0.15
	0.70
	4.3
	5.3
	119
	115
	21.205

	0.70
	0.15
	0.70
	4.0
	5.3
	111
	111
	18.805

	0.70
	0.15
	0.70
	3.3
	2.6
	104
	112
	6.036

	
[image: image27.wmf]m

f

±D

 
	Radial duration
[image: image28.wmf]s

m


	T radial end 
[image: image29.wmf]s

m



	
	
	

	0.006
	0.06
	2.66

	0.02
	0.06
	2.97

	0.015
	0.07
	3.62

	0.008
	0.08
	3.58

	0.006
	0.08
	3.94

	0.013
	0.09
	4.05

	0.014
	0.10
	4.66

	0.007
	0.11
	4.76

	0.01
	0.12
	4.57

	0.012
	0.15
	5.38

	0.004
	0.15
	5.47

	0.011
	0.16
	5.46


Table 2
	P0,
Torr
	Ipeak,
kA
	Ipinch start,
kA
	Tpinch min,

[image: image30.wmf]6

10

K
	Tpinch max,

[image: image31.wmf]6

10

K
	peak va,

[image: image32.wmf]/

cms

m


	peak vs,

[image: image33.wmf]/

cms

m


	peak vp,

[image: image34.wmf]/

cms

m



	0.7
	143.6
	97
	8.09
	9.17
	9.2
	34.5
	24.9

	1.0
	146.6
	98
	10.28
	11.32
	8.7
	37.7
	27.5

	1.5
	150.0
	95
	5.99
	6.9
	7.4
	30.6
	21.4

	2.0
	151.1
	93
	4.63
	5.09
	6.9
	27.6
	18.5

	2.5
	151.5
	92
	2.48
	2.53
	6.7
	24.6
	15.4

	2.9
	151.6
	92
	4.00
	4.32
	6.7
	26.4
	17.3

	3.5
	152.5
	89
	2.91
	3.04
	6.3
	25
	16.1

	4.1
	153.4
	86
	2.63
	2.71
	5.9
	24.9
	15.7


	amin,
cm
	zmax,
cm
	pinch

dur, ns
	Vmax,
kV
	Ni pinch

max, 1023/m3
	Qsx,r

J
	Qsxr

%
	fm


	0.09
	1.4
	6.8
	27
	1.3
	0.02
	0
	0.054

	0.09
	1.3
	6.3
	29
	1.1
	0.01
	0
	0.045

	0.09
	1.3
	7.6
	23
	1.8
	0.05
	0
	0.044

	0.09
	1.3
	8.3
	21
	2.6
	0.13
	0
	0.038

	0.08
	1.3
	7.9
	20
	7.2
	1.11
	0.1
	0.032

	0.09
	1.3
	8.4
	20
	3.1
	0.21
	0
	0.028

	0.08
	1.3
	8.3
	19
	4.9
	0.56
	0
	0.026

	0.08
	1.2
	8.1
	18
	5.4
	0.68
	0
	0.025


	fc

	fmr
 
	fcr

	EINP

%
	T axial

end
[image: image35.wmf]s

m


	SF


	ID

ka/cm
	Qline,

J

	0.7
	0.1
	0.7
	8.9
	2.7
	181
	151
	0.02

	0.7
	0.09
	0.7
	9.3
	2.8
	154
	154
	0.01

	0.7
	0.1
	0.7
	9.8
	3.2
	129
	158
	0.05

	0.7
	0.1
	0.7
	9.9
	3.3
	112
	159
	0.13

	0.7
	0.08
	0.7
	9.9
	3.4
	101
	160
	0.11

	0.7
	0.08
	0.7
	9.8
	3.4
	94
	160
	0.21

	0.7
	0.09
	0.7
	9.9
	3.5
	86
	161
	0.56

	0.7
	0.08
	0.7
	9.8
	3.7
	80
	161
	0.68


	T radial

start, 
[image: image36.wmf]s

m


	T radial end,


[image: image37.wmf]s

m


	Radial

dur ,
[image: image38.wmf]s

m



	
	
	

	2.689
	2.754
	0.066

	2.783
	2.842
	0.059

	3.179
	3.255
	0.076

	3.328
	3.415
	0.087

	3.382
	3.497
	0.115

	3.401
	3.494
	0.094

	3.531
	3.638
	0.107

	3.677
	3.789
	0.112


[image: image39.png]| T

from gas o rotary
provider Electrode purmp.
assemgly
a b
=
0l 1
Starses
cscillscore
Rogowski coil
Highvaluge
e
Tigerri Swiken
Copair
[
Highltge
chagr
207, 30k





Fig.1a 

[image: image40.png]



Fig. 1b

[image: image41.wmf]0.00

1.50x10

-5

3.00x10

-5

4.50x10

-5

6.00x10

-5

7.50x10

-5

9.00x10

-5

-4

-2

0

2

4

6

attenuation factor 1:10

p=5 mbar in Ar

current signal in arb. unit

time ,s


Fig. 2


[image: image42.wmf]0

2

4

6

8

0

20

40

60

80

100

120

140

160

current, kA

time, 

m

s

AECS PF-2 in Ar , p=0.414 Torr

fmr=0.26, fcr=0.7, L0=200 nH, 

r0=14 mOhm

calculated current

 fm=0.073, fc=0.5

 fm=0.073, fc=0.7

 fm=0.050, fc=0.7 

 r0=35 mOhm

 L0=240 nH 

 L0=270 nH

 fcr=0.15

 measured current


Fig. 3a

[image: image43.wmf]0

1

2

3

4

5

6

7

8

9

10

0

25

50

75

100

125

150

175

2

1

2

1

current , kA

t,

m

s

AECS PF-2 in Ar, p=0.414 Torr

 measured current 

 calculated current 




Fig. 3b

[image: image44.wmf]0.0

0.2

0.4

0.6

0.8

1.0

1.2

1.4

1.6

0.00

0.01

0.02

0.03

0.04

0.05

0.06

0.07

0.08

0.09

0.10

Model parameter, f

m

P

0

, Torr

        Mass factor parameter-f

m

 vs pressure in Ar

 Experiment on NIE-SSC-PFF[4]

 Experiment on AECS PF-2


Fig. 4

[image: image45.wmf]0.0

0.5

1.0

1.5

2.0

2.5

3.0

3.5

4.0

4.5

5.0

0.00

0.01

0.02

0.03

0.04

0.05

0.06

0.07

0.08

0.09

0.10

Model parameter, f

m

P

0

, Torr

             For Ne

 f

m

 vs pressure  (INTI PF)

 f

m

 vs pressure  (NIE-SSC-PFF)[4]

 f

m

 vs pressure  (AECS PF-1))[12]


Fig. 5

[image: image46.wmf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

1.1

1.2

1.3

0

10

20

30

40

50

60

70

80

90

100

110

120

130

140

150

AECS PF-2

I

peak

,  kA

P

0

, Torr

 I

peak 

,theory for each P

0

 fitting 

 I

peak

 ,experiment for each P

0

 


Fig. 6

[image: image47.wmf]0.0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1.0

1.1

1.2

1.3

0.0

0.5

1.0

1.5

2.0

2.5

3.0

3.5

4.0

4.5

5.0

5.5

6.0

6.5

AECS PF-2

Axial phase duration , 

m

s

P

0

, Torr



 Theory, duration with fitting at each pressure

 Experiment, duration at each pressure


Fig. 7
[image: image48.png]







































































































































1
1

_1350890368.unknown

_1360484854.unknown

_1360484856.unknown

_1360579815.unknown

_1360657509.bin

_1360580230.bin

_1360492254.unknown

_1360484855.unknown

_1355044218.unknown

_1355044970.bin

_1355045030.bin

_1360484853.unknown

_1355045052.bin

_1355044998.bin

_1355044899.bin

_1355043041.unknown

_1355043089.unknown

_1350890377.unknown

_1340953946.unknown

_1349507877.unknown

_1349508448.unknown

_1349508507.unknown

_1350890339.unknown

_1350890356.unknown

_1349508480.unknown

_1349508391.unknown

_1349507638.unknown

_1349507856.unknown

_1349507598.unknown

_1332576300.unknown

_1332576301.unknown

_1332579560.unknown

_1332576298.unknown

_1332576299.unknown

_1332576297.unknown

