[image: image18.png]



School and Training Course on Dense Magnetized Plasma

as a Source of Ionizing Radiations,  Their Diagnostics and Applications

8-12 October 2012, ICTP, Trieste
Plasma Focus Numerical Experiments and BORA
S H Saw and S Lee



[image: image2.jpg]PF1000 Current vs Pressure

@
=1
=3
=)

X}
=1
=]
=)

Current in kA

=)
=3
=]

0 5 10

Time in microsec

— a5 Tx

— Camyputed 35 Trx
Conputed 100,000 Ten

Conputed 19 Tox

— Camputed 10 Tx

— Camputed 5 Torx

R e e




Fitting BORA: Computed Current fitted to Measured Current
[image: image3.jpg]A B
7 12KV 2Torr Ne

Oct Wek Session

= D = F G H 1 IRk
5.00E-07 572E07 3.60E-01 4.00E-01 0.00E+00 039 -0.169 0.00 0.05-00

LM
036 2.88

N[O FEES] T U

040 060] 000 000 016 0.2

Fig 1 Fitting current

Fitting current expanded for more sensitivi

300
Determine startxray Series Measd T
0535, 306402)
<
260
tChou 200 -
Ikl K | <
xl EmnO =
100
2 Fpy R JE———
& s 100
Bt GV H -
0
05 15 a7 19
= 0 : } usec
sV T TAT U T UT
15 PMT1 0.0 1.0 20 2 0.96 040 0.60) 006 0.1
16 PMTY usec 209 o 01
Time comparators. 01 02
1550 025 02 The cur

Fig 1 Fitting current, better display





[image: image4.jpg]INTI

International University

LAUREATE INTERNATIONAL UNIVERSITIES®




[image: image5.png] Knowledge Should Be Freely Accessible To All »

IPF Institute For Plasma Focus Studies




Reference to the Lee model code should be given as follows:

Lee S.  Radiative Dense Plasma Focus Computation Package (2012): RADPF    www.plasmafocus.net     http://www.intimal.edu.my/school/fas/UFLF/
3-hour Plasma Focus Numerical Experiment and Bora
Presented by S H Saw & S Lee

[image: image1.emf]
At the School and Training Course on Dense Magnetized Plasma as a Source of Ionizing Radiations,  Their Diagnostics and Applications, 8-12 October 2012, ICTP, Trieste 

Part 1:  Universal Plasma Focus Laboratory-The Lee model code 

1.1 Introduction to the Worksheet
1
1.1.1 Opening the worksheet (and enabling Macro)


1
1.1.2
Preliminary orientation for setting controls



2
1.1.3
Preliminary orientation for computed results



2
1.2 Configuring the Universal Plasma Focus Laboratory (UPFL)


4
1.2.1 
Configuring the worksheet for a specific machine


4
1.3 Firing a shot in NX2







4
1.3.1 Studying the results

1.5
Conclusion








6
Part 2:  Exercise with BORA 

2.1    Data









9
2.1.1  Current derivative trace: (from pg 84 Fig 89) 



10
2.2 
Data treatment








11

2.2.1 Tracing the dI/dt, filtering out the high frequency ‘noise’ oscillations
11
2.2.2 Digitizing the ‘noise’-reduced dI/dt curve and integrating it to obtain the ‘measured’ current trace

11
2.2.3 Using the measured current trace for fittings of the computed current trace to ‘calibrate’ the model code to the Bora Plasma Focus

12


2.3 
Fitting the static inductance L0






13
2.4 
Fitting fm and where necessary fc





14
2.5 
Fitting effective ‘straight-length’ channel z0




15
2.6 
Fitting the radial phase







16
2.7 
Concluding Notes







17
Course materials

An e-manual (this document)

An e-folder (RADPFV5.15df.xls  (or 5.15de) )
3-hour Plasma Focus Numerical Experiment and Bora
Part 1:  Universal Plasma Focus Laboratory-The Lee model code 

Follow the instructions (adapted to EXCEL 2003) in the following notes. You may also wish to refer to the supplementary notes SP1.doc. Instructions are given in some details in order to accommodate participants who may not be familiar with EXCEL. Those who find the instructions unnecessarily detailed may wish to skip the unnecessary lines. Excel 2003 or 2010 are preferred. Avoid EXCEL 2007 (which can be very slow working with this code).
Summary

1.1 Introduction to the Worksheet

1.2
Configuring the Universal Plasma Focus Laboratory (UPFL)

1.3
Firing a shot in NX2

1.4
Studying the results

1.5
Conclusion

The material

You should have RADPFV5.15df.xls  (or 5.15de) on your Desktop for the next step. Please also ensure you have kept an identical original copy in a RESERVE folder. You are going to work with the desktop copy; and may be altering it. Each time you need an unaltered copy; you may copy from the reserve folder and paste it onto the desktop.

1.1
Introduction to the Worksheet
1.1.1
Opening the worksheet (and enabling Macro)
Double click on RADPFV5.15df.xls 

Work sheet appears and should look like Figure 1.1 [shown only as an example]; for the following please refer not to Figure 1.1 but to your worksheet.

Security pop-up screen appears.

Click on enable macros [or enable content for 2010]
[2007 Security Warning “Macros have been disabled” appears at top left hand corner of Worksheet with side box “options”. Click on “options”- select the button “Enable this content”- click OK]
After this procedure, the worksheet is macro-enabled and is ready to run. 
1
[image: image6.jpg]Focas Computacn. 5 Phaze Mode!

5 e RADPIVS.A5d0 | 101 m e 5010t ek e O O
10 ur Chc corsoron bk cef hen Pres

e €401

AL ofe AEDEL





Figure 1.1  
Appearance of worksheet-EXCEL 2003 version; EXCEL 2010 version should not look too different.

1.1.2
Preliminary orientation for setting controls

(For the following instructions, use your Excel Sheet; not the above image) 

Device configuration:  

(Note: Each Cell of the Excel Worksheet is defined by a Column alphabet A, B, or C….. and a Row number 1, 2 or 3 etc. The Column alphabets are shown along the top border of the worksheet. The Row numbers are shown along the left border of the Worksheet. For example, Cell A4 is located at column A row 4. Another example: A4-F9 refers to the block of cells within the rectangle bordered by row A4-F4, column A4-A9, row A9-F9 and column F4-F9; the larger orange-red bordered rectangle, containing 6x6 cells, near the top left of figure1.)

Locate Cells A4 to F9. These cells are for setting bank parameters, tube parameters, operating parameters and model parameters.

Taper: Control Cells for anode taper are normally inactivated by typing 0 (number zero) in Cell H7. Ensure that H7 is filled with 0 (number zero); unless anode taper feature is needed.

One Click Device: This control cell R4 allows choice of a specific plasma focus using numbers; currently 3 machines are available chosen with numbers 1, 2 or 3. Ensure that R4 is filled with the number 0. (Otherwise the code will keep defaulting to the selected machine ‘1’ or ‘2’ or ‘3’.)

1.1.3
Preliminary orientation for computed results

Cells A10-G13: 
computed characteristic quantities of the configured plasma focus.

Cells K6-M7:    
computed neutron yield, component & total; if operated in deuterium
Cell N6-N7:       
computed SXR line radiation 
2
Cells H10-N11: 

computed durations of axial phase, radial phase and pinch phase and end time of radial phase.

Cells A15-AI17: 
dataline: contains data on row 17 with corresponding labels (and units) in rows 15 and 16.  Data: E0, RESF, c=b/a, L0, C0,  r0, b, a, z0, V0, P0, Ipeak, Ipinchstart, Tpinchmin, Tpinchmax, peak va, peak vs, peak vp, amin (which is rmin), zmax, pinch duration, Vmax, nipinchmax, Yn, Qsxr, Qsxr%, fm, fc, fmr, fcr, EINP, taxialend, SF, ID and Qline; others may be added from time to time. 

This is a recently introduced very useful feature; enables computed data for each shot to be copied and pasted onto another sheet; so different shots may be placed in sequence, and comparative charts may be made.

Columns A20 to AP20:  computed point by point results (data are correspondingly labeled in row A18 with units in row 19) for the following quantities respectively:

Time in s, total current, tube voltage, axial position, axial speed, time of radial phase in s measured from the start of axial phase, time of radial phase in ns from the start of the radial phase, corresponding quantities of current, voltage, radial shock position, radial piston position, radial pinch length, radial shock, piston and pinch elongation speeds, reflected shock position, plasma temperature, Joule power, Bremsstrahlung, recombination, line emission powers, total radiation power, total power, Joule, Bremsstrahlung, recombintion, line emission energies, total radiation energy, total energy, plasma self-absorption correction factor, black-body power,  specific heat ratio and effective charge number, number thermonuclear neutrons, number beam target neutrons, number total neutrons, ion density, volume radiation power, surface radiation power,  plasma self-absorption correction factor , radial phase piston work in % of E0, neon SXR energy emission. 

Each computed quantity as a function of time (displayed in the relevant column) is displayed in a column.  After a run each of these columns is typically filled to several thousand cells.

Computed results are also summarized in 8 figures:

Fig 1: (Top left)   total discharge current and tube voltage

Fig 2: (Top right) axial trajectory and speed

Fig 3: radial trajectories

Fig 4: total tube voltage during radial phase

Fig 5: radial speeds

Fig 6: plasma temperature

Fig 7: Joule heat and radiation energies

Fig 8: Joule power and radiation powers
3
An additional Fig 8a on the right displays the specific heat ratio and effective charge number during the radial phase. 
1.2
Configuring the Universal Plasma Focus Laboratory (UPFL)

1.2.1 
Configuring the worksheet for a specific machine  
As a first exercise we configure the UPFL so it operates as the NX2, the High-repetition rate neon focus developed for SXR lithography in Singapore. 

The parameters are:


Bank:      
L0=20 nH, C0=28 F, r0=2.3 m(

Tube:       
b=4.1 cm, a=1.9 cm, z0=5 cm

Operation:
V0=11 kV, P0=2.63 Torr, MW=20, A=10, At-Mol=1 (these last 3 defines neon for the code i.e. molecular (atomic) weight, atomic number and whether atomic or molecular)


Model:  

massf (fm)=0.0635, currf (fc)=0.7, massfr (fmr) =0.16, currfr (fcr)=0.7; these are the mass and current factors for the axial and radial phases. 



(Note: 1. These model parameters had been fitted earlier by us so that the computed total current best fits a measured total current trace from the NX2. 




Note:2. We will carry out exercises in fitting model parameters in Module 3 in an exercise with Bora)

Configuring: 
Key in the following: (e.g. in Cell A5 key in 20 [for 20 nH], Cell B5 key in 28 [for 28 F] etc.



A5
  B5
  C5
  D5
  E5
  F5



20 
  28
  4.1
  1.9
  5
  2.3


Then
A9
  B9
  C9
  D9
  E9



11
  2.63
  20
  10
  1


Then
A7
  B7
  C7
  D7



0.0635   0.7
  0.16
  0.7
You may of course find it easier to follow the labels in A4-F4, to key in A5-F5 for the relevant parameters; i.e. A4 states L0 nH; so fill in below it in A5 20 ; and so on.

For identification purposes key in at B3 ‘NX2’

1.3
Firing a shot in NX2  

Place the cursor in any blank non-active space, e.g. G8. (point the cursor at G8 and click the mouse).  Press ‘Ctrl’ and ‘A’ (equivalent to firing a shot).

The programme  runs and  in less than a minute [provided  you  are  running  on  EXCEL 2003, For some reason for EXCEL 2007, the  process may take longer, sometimes   much

4
longer] the run has completed and your worksheet will look something like Figure 1.2 below:
[image: image7.jpg]



Figure 1.2  Appearance of Worksheet after a shot.
5
[image: image8.jpg]Compare currents when operated as short-circuit with

400 when operated as plasma focus
300 -

i 200
£ 100
-
=
E 0
=
O -100

200 B — i shorcieuit carreat R

— computed plasma focus curs
o | — computed plasma focus current | 2

Time in microsec




Figure 1.3  Plasma focus current is distorted from unloaded current wave form.

In Figure 1.3 is superimposed a current waveform (in blue) of the plasma focus short-circuited across its input end insulator; with the current waveform (pink) you have just computed 

Notes:

The first important point to note is that the plasma focus current waveform is very much distorted from the damped sinusoid of the L-C-R discharge without the plasma focus load (figure 3). The ‘distortions’ are due to the electrodynamical effects of the plasma motion, including the axial and radial dynamics and the emission of SXR from the Neon plasma. The features of these ‘distortions’ contain the information of the plasma electrodynamics. 

The plasma focus loads the electrical circuit in the same manner as an electric motor loads its driving circuit. The loading may be expressed as a resistance. The dynamic resistance due to the motion in the axial phase is more than the stray resistance of the capacitor bank in the case of the NX2. The dynamic resistance due to the plasma motion in the radial phase is so large as to completely dominate the situation. This causes the large current dip as shown in figure 3.

1.4
Studying the results   

(The results are obtained from your Excel Sheet; not from the above images in figure 2)

Remember we are operating a neon plasma focus.

Here are some important quantities obtained from the data line in row 17.

Computed 
Ipeak: 
L17
322 kA


Ipinch:  
M17
162 kA (pinch current at start of 






     pinch phase)


Peak tube voltage: 
V17
26.1 kV

kmin:
S17
0.075 (rmin or amin/a)

 [you may also check this against figure 3 of the worksheet.]
6
Durations: H11-N11 




Axial phase ends at 1.172 s                                      

Radial phase ends at 1.407 s (add 1.172 to 0.235 s) of which the last 26.2 ns is the pinch phase.

Now we study the various figures displayed on the worksheet, Sheet1 (also shown in figure 2).

Fig 1  

Computed current trace; One point of interest is to locate the ends of axial and radial phases on this trace; as well as the start and end of the pinch phase. To do this, select Fig 1 (by pointing cursor on figure 1 and clicking). Then point cursor arrow at trace near peak and move until point 1.17 s appears; that is the end of axial phase which is also the start of the radial phase. 

Note: This point occurs not at the apparent start of current dip, but a little before that. There is no distinct indication on the trace that precisely marks this point. The term rollover may be a better term suggesting a smooth merging of the axial and radial phase. The apparent current dip occurs a little after the end of the axial phase. 

Next locate point 1.41 s which is the end of the radial phase. Also locate the point 1.38 s which is the start of the pinch phase. There is no clear indication on the trace to mark this point either.

Fig 2 

Select Fig 2 (with cursor) and read off the pink curve that the peak axial speed reached is 6.6 cm/s. Confirm this on the data line; Cell P17. How many km per hour is this? And what is the Mach Number? 1 cm/s=36,000 km/hr; so 6.6 cm/s=237,600 km/hr
Expressing this speed in km/hr is to give an idea of how fast the speeds are in the plasma focus; it should give the idea also of temperature, since for strong shock waves (high Mach number motion) there is efficient conversion of energy from directed to thermal, i.e. from high kinetic energy to high temperature.

Fig 3 

Select Fig 3. Read from dark blue curve that piston hits axis (radius=0) at 177ns after start of radial phase; and outgoing reflected shock (light blue) hits incoming piston (pink curve) at 209ns at radius of 2.03mm. The pinch phase starts at this 209ns and ends at 235 ns at a further compressed radius of 1.42mm. 

Note the square of the ratio of pinching a/rmin is a measure of the how much the ambient density has been increased by the pinching effect.

Fig 4

Computed waveform of tube voltage during radial phase.  Note the peak value of the tube voltage induced by the rapid plasma motion.

7
Fig 5

Select Fig 5. Note from the dark blue curve that peak radial shock speed is 20.4 cm/s just before the radial shock hits the axis at 178 ns after start of radial phase. Also read from the pink curve that peak piston speed is 14.2 cm/s reached just before the radial shock reaches its peak speed. Yellow curve shows column elongation speed. Note that these peak speeds are also recorded in the data line.

Other figures: 

Select Fig 6: and read the peak temperature reached.

Select Fig 7: and read the various energies.

Select Fig 8: and read the various powers

Note that more charts are plotted on Sheet2 of RADPFV5.15df.xls These charts form a more complete picture of the plasma focus pinch, and may be used as starting guides for laboratory measurements of the various plasma properties.

1.5 
Conclusion

We had an introduction to the Worksheet of RADPFV5.15df.xls
We configured the UPFL as the NX2 at 11 kV 2.6 Torr neon.

We used properly fitted model parameters. (Note: Fitting model parameters will be covered in a future session).

We noted that the current waveform is distorted from damped sinusoid-like waveform (damped sinusoid-like waveform is the current waveform when the plasma focus is short-circuited).

We studied the computed results, including total current, tube voltage, pinch current, radial and axial trajectories, radial and axial speeds, plasma temperature and plasma Joule heating and radiation energies. 

We also located various points on the current trace including: end of axial phase/start of radial phase; end of radial phase; start and end of pinch phase. 

Note: This particular numerical ‘shot’ used properly fitted model parameters. The results of dynamics, electrodynamics and radiation as seen above are, in our experience, comparable with the actual experiments conducted at NTU/NIE.
End of Part 1
Reference to the Lee model code should be given as follows:

Lee S.  Radiative Dense Plasma Focus Computation Package (2012): RADPF  www.plasmafocus.net     http://www.intimal.edu.my/school/fas/UFLF/
8
Part 2:  Exercise with Bora
Summary

For this module we fit BORA computed current waveform to match a BORA measured current waveform. 

From fitting the rising slope (and the risetime) of the current we obtain the static inductance L0. From the fit of rising profile and the topping profile (including the peak values) we obtain the bank stray resistance r0. From fitting the axial mass factor fm and radial mass factor fmr (where necessary also fitting current factors fc and fcr) we obtain a good overall fit. The final fitting produces from the code realistic results of Ipeak, Ipinch, axial and radial dynamics and pinch properties.
Data for BORA is taken from the following paper:

Dense Plasma Focus “Bora” operational at The Abdus Salam International Centre for Theoretical Physics and experiments provided with the device

V.A. Gribkov, M.V. Chernyshova, A. Cicuttin, M.L. Crespo,

R.A. Miklaszewski, M. Scholz, A.E. Shapiro, K. Tomaszewski, C. Tuniz
2.1 Data
1. Capacitance C0=24.4 µF   (from pg 15 Table 1)

2. Chamber: cathode radius b=2.5 cm; anode radius a=1.5 cm (pg 65 Fig 62)

      ‘axial’ length  z0=3.5 cm (nominal) curved; will be fitted as an equivalent straight axial length
3. Current derivative trace; (from pg 84 Fig 89) - bottom most trace is used; as this is the trace with effectively the whole trace visible and distinguishable.
9
2.1.1  Current derivative trace: (from pg 84 Fig 89) 
[image: image9.emf]
Notes:

1. The current derivative trace is dI/dt taken at one of the 4 PSSs.

2. Inductance (static) of bank L0 is not given; we will fit it unambiguously from the slope of the computed current trace fitted to the measured current.
3. Stray resistance of bank is not given; we will use 0.1 of surge impedance of bank and check that this is consistent during the fitting.
10
4. 
We only have the waveform; ie the shape of the current trace taken at one of the 4 PSSs. However the model code we are using is charge-‘consistent. Hence once we have the current waveform correctly fitted, the computed current amplitudes are correct and may be used to calibrate the system current; we assume the shape of the current trace at the PSS that we are using is consistent with the overall current waveform.

2.2 Data treatment
2.2.1 Tracing the dI/dt, filtering out the high frequency ‘noise’ oscillations
Since we have no digital file, we trace out the dI/dt  Current derivative trace; (from pg 84 Fig 89 bottom-most trace) as best we could (filtering out the high frequency ‘noise’ oscillations by drawing a line through the middle of the high frequency ‘noise’ oscillations as judged visually. We obtained the following as shown in Figure 2.1 after an inversion to obtain the starting dI/dt positive. 
[image: image10.jpg]S




Figure 2.1  Current derivative trace (from pg 84 Fig 89 bottom-most trace) after filtering out the high frequency ‘noise oscillations

2.2.2 Digitizing the ‘noise’-reduced dI/dt curve and integrating it to obtain the ‘measured’ current trace
Then we digitized this trace using a digitizer called “Engauge” obtaining the digitized trace & its integration is shown in Figure 2.2 (a screen capture).
[image: image11.jpg]=] 0rab 001 [Compatibilty Mode] | —
Home | Inset  Pagelayout Fomulas  Data  Review  View | Design  lLajout  Format
4 ct ST = . - = Autos
B2 copy ~ - s = @
rae B ru-jm- @A 2 , Conations Fomat el | et Deete Fomat | o
Clipboard 5 Font Alignment Number styles celts o
Chart2 s b
A B c ) E F G ] K E 0] N o 2 [ R
2 [0.391275] -0.00875 b T
3 0459545 005513 0.003764 et redrawn fom digitized data 16 o Current integrated from di'dt digitised data__
4 0502259| 0.108297| 0.00839) o
5 051127] 0.256644| 0.010702 2
6 0519488| 0.171837| 0.012115| 15 A2
7 | 0.519597| 0.203717) 0.012137] 1
8 0.537656| 0.511006| 0.021366| 1 08
9 | 0.545658( 0.362739) 0.024268| g5 — o
10| 0.54591| 0.436892] 0.024378
11 0564885 0.574646( 0.029536 O 04
12 0.555246| 0.6808| 0.029781| g5 i A 4 02
13 0.555787| 0.839481 0.030236) 0
14 05635| 0.606467| 0.034913| -1 " 02 1 3 4
15| 0.563969| 0.744181( 0.035262 4 5 [Crortvea
16| 0.564113| 0.786554 0.036376
17 0.564473| 0.892488] 0.035697 L
18| 0564906 1.01961| 0.036138
19| 0.573233| 0.966662] 0.044188
20 0.590679| 1.09388| 0.063272
21 0.608125| 1.22108| 0.084575]





Figure 2.2  Digitized dI/dt trace and the integrated measured current waveform
11

2.2.3 Using the measured current trace for fittings of  the computed current trace to ‘calibrate’ the model code to the Bora Plasma Focus
We configure the UPFL (RADPFV5.15df.xls) for Bora using the following trial configuration. 
Values in black: given; Values in red: trial
	Lo nH  
	  Co uF  
	b   cm
	a cm  
	zo cm  
	 ro m

	30
	24.4
	2.5
	1.5
	4
	2.3

	massf  
	   currf
	massfr
	currfr
	Model Parameters

	0.07
	0.7
	0.16
	0.7
	
	 

	Vo  kV 
	  Po Torr  
	   MW
	  A
	At=1 mol=2
	Operational

	17
	7.6
	  4
	1
	2
	Parameters


We fire a shot. We place the computed current trace on the same chart as the measured current data (sheet bora001). 
In order to make the comparison meaningful we note:
1. The computed curve and the measured curve may need to be shifted in time one relative to the other. To do that we add an amount of time (time shift) specified in Cell K1 which is varied until the start of the computed and measured traces coincide.
2. The measured current has unknown (hence treated as arbitrary) amplitude. To make meaningful fit it is necessary to adjust the measured current amplitude to that of the computed amplitude. To do this we place a multiplying factor (multiplier) in Cell L1 which is varied until the measured amplitude is equal to the computed. Then we start the profile (shape) fitting.
2.3 Fitting the static inductance L0.

Having completed adjusting the time shift (-0.5) and amplitude multiplication (220) as explained in (1) and (2) above; the overlay of the two traces are shown in the Figure 2.3 below:


[image: image12]
Figure 2.3  Overlay of computed current to measured current traces to facilitate fitting
12
We note that the computed trace has a much steeper slope (hence shorter risetime) when compared to the measured current trace. Since the  periodic time of an L-C circuit is dtermined by (L0C0)0.5, we need to increase L0 in the computed circuit.

We increase the configured value of L0 step be step. When L0=55 nH, with the configuration as follows:
	Lo
	Co
	b
	a
	Zo
	ro mOhm

	55
	24.4
	2.5
	1.5
	4
	    4

	massf  
	currf
	massfr
	currfr
	Model Parameters

	0.07
	0.7
	0.16
	0.7
	
	 

	Vo
	Po
	MW
	A
	At-1 Mol-2
	Operational

	17
	7.6
	4
	1
	2
	Parameters


The overlay looks much better as far as the comparison of the current rise profile is concerned (with further adjustments to time shift (-0.55) and multiplier (218) as shown in Figure 2.4.
[image: image13.png]250

200

150

100

50

N

——measured |

computed |





Figure 2.4 Fitting of computed current to measured current waveform by adjusting L0
So we know the value of L0 is close to 55 nH and r0~4 mΩ. We may need to fine tune a little later.
2.4 Fitting fm and where necessary fc
From the latest fit above it is clear that the computed (brown trace) trace has the radial phase starting far too early; ie the axial speed is too fast.

We need to slow down the axial speed. This can be done by increasing fm.

We try increasing fm to 0.1, then 0.15, then 0.2. With each increase the computed current dip comes later and later making the fit better. At fm=0.2, the following is the overlay in Figure 2.5.
13
[image: image14.png]100 / ——measured | \

/ computed | \
50





Figure 2.5  Improved fitting of computed current to measured current by adjusting fm
2.5 Fitting effective ‘straight-length’ channel z0
We note that although the computed current dip is approaching the measured current dip and the current amplitudes are about the same, yet the computed current dip does not have the flattening behaviour of the measured. This suggests that we should increase either the value of L0 or the length z0 (which also in effect increases the contribution to risetime. We try increasing L0 to 60 and then to 65 nH, (each time adjusting the multiplier as well)  but we are not able to get the rounding behaviour of the current dip such as is seen on the measured topping and dipping profile. Neither can we get the correct shape by an increase of L0 and fm. (although at L0=70 nH and fm=0.3 we get the computed current dip up close to the measured; but the shape is just too angular for the computed when compared to the measured profile. Moreover we know that the 4-capacitor configuration of Bora would not possibly have such a large L0.  Even L0=55 nH is already (to us) surprisingly high.
So we go back to L0=55nH and fm=0.2 and try increasing z0, which will also move the current dip later in time towards the measured current dip.  When we reach z0= 6 cm the configuration looks like this:
	Lo
	Co
	b
	a
	zo
	ro mOhm

	55
	24.4
	2.5
	1.5
	6
	6

	massf  
	currf
	massfr
	currfr
	Model Parameters

	0.2
	0.7
	0.16
	0.7
	
	 

	Vo
	Po
	MW
	A
	At-1 mol-2
	Operational

	17
	7.6
	4
	1
	2
	Parameters


And the overlay in Figure 2.6 shows the computed curve is now close to the measured; with time shift of -0.55µs and multiplier=218 
(Note: we do not look at the fit beyond the bottom of the dip as that is outside the region of interest.) 

14
[image: image15.png]350

300

Current (arbitrary units) numerically integrated from dl/dt

250

200

150

/ ——measured | \

100

50

computed | \





Figure 2.5 Improved fitting of computed current to measured current by adjusting for effective ‘straight length’ channel z0
2.6 Fitting the radial phase.
We note that for Bora the fm (at 0.2) is higher than most other machines which typically have fm=0.1. Hence we expect that fmr should also be bigger, likely bigger than 0.2. (since our experience is that fmr is generally bigger than fm, typically about twice fm. Increasing fmr by such a large amount will also move the current dip significantly to a later time, since a close examination (Sheet 1 H11) shows that the radial phase starts a little (about 0.1 µs in this case) before the plunging start of the current dip. This small amount of time leading up to the plunging dip is sometimes referred to as the ‘roll-off’ region which is the turning of the flat-top into the dip. Because the radial phase starts before the dip, increasing the mass factor of the radial phase will make the roll-off more pronounced thus delaying the current dip. 
Thus, at this point of the fitting we move to the radial phase fitting; by increasing fmr.  We increase fmr in small steps from 0.16 to 0.25 then to 0.3, noting the improvement in the fit as fmr is increased. When we get to 0.4 the configuration is: 

	Lo
	Co
	b
	a
	zo
	ro mOhm

	55
	24.4
	2.5
	1.5
	6
	6

	massf  
	currf
	massfr
	currfr
	Model Parameters

	0.2
	0.7
	0.4
	0.7
	
	 

	Vo
	Po
	MW
	A
	At-1 mol-2
	Operational

	17
	7.6
	4
	1
	2
	Parameters


15
And the overlay looks good as shown in Figure 2.7.
[image: image16.png]350

300

Thi

is fit is quite a reasonable one

250

e

200

150

d

100

50

——measured |

computed |





Figure 2.7  Ftting of the radial phase completes the fitting of the computed to measured current 
We could make the fit marginally better by making small iterative adjustments again to L0, r0, fm and fmr. But the end result would not make much difference to either the the value of Ipeak or Yn, the neutron yield or to any of the key dynamics such as axial and radial speeds or the properties of the focus pinch such as dimensions or pinch duration. So for discussions we accept this fit.
2.7 Concluding Notes
1. The inductance (55 nH fitted) is surprisingly high when compared with the predecessors PF-5M (33 nH) or NX1 (30 nH). The Designer of BORA will be able to confirm this aspect of the design in comparing with PF-5M and NX1.

2.   The mass factor fm and radial mass factor fmr are unusually high indicating (a) that the solid channel of the Bora is conducive to a more efficient mass swept-up (b) and the possibility that the pressure that was actually in the chamber  could be higher than “about” 10 mbar as stated against Fig 89; 

3. Peak circuit current Ipeak=304 kA and 
the neutron yield Yn= 1.9x108 .

4. The dynamics and some Pinch Properties are presented in the following screen capturein the next page.
16
[image: image17.jpg]C

W[ N [ 0 [ b |

—a

=

1 Plasma Foous Computation: 5 Phase Model by S Lee: RADPFVS.15c #4444 (sdpted o 1964;1531ICTF Sping Colege versonin 2000 0ot 2005 incluc tms mtch sheck dene 2006 i
2|1 AualPhase . RadislinardShock 1, FadslFelcted Shock. 1V, Slow Compression Phase . ExpandedLage Cokumn A To run: Click cursor on blank cell then Press ‘Cir'+'a
3 Devos wizneon Modified Yn model; Feb 08 beam-target: i 12 21-2 vmax’~0.5 s Hetaisce 3-VAMAX nchides plasma sef-sbsorpon, smaoih ansion ok
sl o B a 20 Fo mONM]Machine parametess:[To run. set p'meters: o fil in next cell 1 or 2 r 3 for UNU, NX2 or PF1000, then'Ciriea’
s s 4 25 18 0 o [TAPER? tsperstan endisd |V calbraton ot LSHAGHTS ‘Suggestions for chaies
© |masst curf  massir curtr  ModelParametes (on) [Vibem Vheam newrony | Vinem  endndoat Kr o
[ oz o oa o7 SIE03 1EGE08 vaseeos| 127603 20T s
B[Vo Po MW A A1mol Cperaonal 3008 GasesH2, 02, 0TI, Ho N2 e, A ki Xe H 2
s 718 4 1 2 Parameters|(Varymocel parametsts unibestaesment s cbrsined betvean svp Bcompued curentusces) D .
o 2
S Fig 1. Discharge Current f AT sctay & et Fig & Tube voltage V. @
2| ¥ ® 2
] i
B 2% T o
ry T
W BE iz = »
A — Total Curren] =1 ) ks peaks
E o by = it
| E% ts e
B PS et PJ
i 38 &
L S s 20 25 30 “3 s
z — "o Swenmspse so 5o O e B
AN ] St fadal T Fig 5. Radial Speeds | Time in n, from start of radial phase. HE+05
S 3 3 #

23| gwds &0 Fig 6. Plasma Temperature i
| 2x¥ P 3s 208406 &
= i{“ %F 0 e .05
% ax % 4 51 5Ev06 4 5E405.
zr 58 E H 32 5 19E:00 5e405.
= EEE $E01 8108405 co0s
5 feEs ) H ce.05
) — 3] 00/ 20 '3 508405 ce05

= 0 £ 0.0E+ N
2 = Time.nns.fram startof adialhase 0o 0 2m a0
W4 | Sheet1 shest? Sheet? . bora00l . tJ I

Ready |





End of Part 2
Reference to the Lee model code should be given as follows:

Lee S.  Radiative Dense Plasma Focus Computation Package (2012): RADPF www.plasmafocus.net     http://www.intimal.edu.my/school/fas/UFLF/
23 September 2012
17
